## Alerts
Timestamp | Alert ID | Device ID | Message Type | Latitude | Longitude | Alert Type | Severity | Description | Raw JSON
2025-11-24T13:20:47.224Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":1,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"707d1b9e-d407-45ab-977a-7e59fd3dcfb2","EventDtm":"2025-11-24T12:51:42Z","AppDtm":"2025-11-24T12:51:55Z","Events":["MicroAlarm"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T12:51:42Z","DeviceID":"JSGA622340482","GPSLockState":"LOCKED","GPSSatelliteCount":15,"GPSLastLock":0,"GPSLatitude":17.678695,"GPSLongitude":78.720102,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19328","CID":"254963203","RSSI":null,"ExtPower":true,"ExtPowerVoltage":32.6,"BatteryVoltage":8,"DeviceTemp":29,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CAIU5422720","LastAssetRunState":"Faulty"},"ReeferData":{"ReeferDataDtm":"2025-11-24T12:51:42Z","AssetType":"Reefer","AssetID":"CAIU5422720","OEM":"DAIKIN","TAmb":25.62,"TAmbQ":null,"TUSDA4":-53.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":230,"PSucQ":"asProvided","TDis":74.9,"TDisQ":null,"FreqComp":null,"TSuc":11.6,"TSucQ":null,"MCond":"Off","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":660,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":400,"PctExpVlvQ":"OOR","TEvap":3.88,"TEvapQ":null,"MCtrl3":"EmergencyShutdown","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"Off","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":90.94,"PctHumQ":null,"PctHumSet":60,"PctHumSetQ":"off","FreqLine":null,"FreqLineQ":null,"VLine1":404.2,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"AlarmShutdown","TRtn1":5.12,"TRtn1Q":null,"TRtn2":4.9,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"27C2","VerSWMinor":null,"PctSucVlv":100,"PctSucVlvQ":null,"TSup1":4.31,"TSup1Q":null,"TSup2":4.3,"TSup2Q":null,"AmpTotalDraw":0,"AmpTotalDrawQ":"asProvided","TUSDA1":-53.4,"TUSDA1Q":"OOR","TUSDA2":-53.4,"TUSDA2Q":"OOR","TUSDA3":-53.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-10-30T05:56:46Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":[{"OemAlarm":803,"RCAlias":"F803","RCSeverity":"Severe","Active":true},{"OemAlarm":809,"RCAlias":"F809","RCSeverity":"Severe","Active":true}]}}}
2025-11-24T13:20:47.240Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":2,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"80a6d3f5-40da-4797-92fa-e35bc04d71c5","EventDtm":"2025-11-24T12:53:03Z","AppDtm":"2025-11-24T12:53:16Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T12:53:03Z","DeviceID":"JSGA622340343","GPSLockState":"LOCKED","GPSSatelliteCount":14,"GPSLastLock":0,"GPSLatitude":12.804937,"GPSLongitude":77.66226,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"45","LAC":"9003","CID":"46904076","RSSI":null,"ExtPower":true,"ExtPowerVoltage":29.9,"BatteryVoltage":8,"DeviceTemp":29,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1035976","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T12:53:03Z","AssetType":"Reefer","AssetID":"CCLU1035976","OEM":"CARRIER","TAmb":31.46,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":5,"PctCO2Q":null,"PctCO2Set":1,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":103.37,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04904656","AmpPhA":11.47,"AmpPhB":11.21,"AmpPhC":11.47,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":6.21,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":0,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":416.87,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0.09,"PctO2Q":"unknown","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":5.78,"TRtn1Q":null,"TRtn2":5.79,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"5180","VerSWMinor":null,"PctSucVlv":5.38,"PctSucVlvQ":null,"TSup1":5.08,"TSup1Q":null,"TSup2":5.02,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-05-12T10:01:32Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-24T13:20:47.245Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":3,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"972a3f05-fe3e-4981-aec2-1f63aa2d0e3c","EventDtm":"2025-11-24T12:53:34Z","AppDtm":"2025-11-24T12:53:48Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T12:53:34Z","DeviceID":"JSGA623040182","GPSLockState":"LOCKED","GPSSatelliteCount":16,"GPSLastLock":0,"GPSLatitude":17.539024,"GPSLongitude":78.178368,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19397","CID":"232155661","RSSI":"-55","ExtPower":true,"ExtPowerVoltage":32.3,"BatteryVoltage":8,"DeviceTemp":31,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TDRU5800414","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T12:53:34Z","AssetType":"Reefer","AssetID":"TDRU5800414","OEM":"DAIKIN","TAmb":27.19,"TAmbQ":null,"TUSDA4":-46.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":-40,"PSucQ":"asProvided","TDis":112.1,"TDisQ":null,"FreqComp":null,"TSuc":-35.6,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":850,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":20,"PctExpVlvQ":null,"TEvap":3.31,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":98.82,"PctHumQ":null,"PctHumSet":75,"PctHumSetQ":"configured","FreqLine":50,"FreqLineQ":null,"VLine1":410.3,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":5,"TRtn1Q":null,"TRtn2":5,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"24C2","VerSWMinor":null,"PctSucVlv":86.28,"PctSucVlvQ":null,"TSup1":4,"TSup1Q":null,"TSup2":4.1,"TSup2Q":null,"AmpTotalDraw":12,"AmpTotalDrawQ":"asProvided","TUSDA1":-46.4,"TUSDA1Q":"OOR","TUSDA2":-46.4,"TUSDA2Q":"OOR","TUSDA3":-46.3,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"OOR","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-09-30T07:54:44Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":null}}}
2025-11-24T13:20:47.248Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":4,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"d8945045-55c6-4d47-8509-4421754f5aee","EventDtm":"2025-11-24T12:59:35Z","AppDtm":"2025-11-24T12:59:49Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T12:59:35Z","DeviceID":"JSGA621320217","GPSLockState":"LOCKED","GPSSatelliteCount":19,"GPSLastLock":0,"GPSLatitude":26.6445,"GPSLongitude":88.467932,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"405","MNC":"51","LAC":"41512","CID":"16323942","RSSI":null,"ExtPower":true,"ExtPowerVoltage":33.6,"BatteryVoltage":8.1,"DeviceTemp":28,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CXRU1036301","LastAssetRunState":"Standby"},"ReeferData":null}}
2025-11-24T13:20:47.249Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":5,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"36bec12e-1db6-42c4-845f-339257e2afa1","EventDtm":"2025-11-24T13:00:01Z","AppDtm":"2025-11-24T13:00:51Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:00:01Z","DeviceID":"JSGA621320194","GPSLockState":"LOCKED","GPSSatelliteCount":16,"GPSLastLock":0,"GPSLatitude":16.824905,"GPSLongitude":78.13149,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31204","CID":"255654657","RSSI":null,"ExtPower":true,"ExtPowerVoltage":32.2,"BatteryVoltage":8,"DeviceTemp":32,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CXRU1186425","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:00:01Z","AssetType":"Reefer","AssetID":"CXRU1186425","OEM":"DAIKIN","TAmb":28.19,"TAmbQ":null,"TUSDA4":-46.5,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":-10,"PSucQ":"asProvided","TDis":68.3,"TDisQ":null,"FreqComp":null,"TSuc":-24.9,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":980,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":37,"PctExpVlvQ":null,"TEvap":11,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":65,"PctHumSetQ":"off","FreqLine":null,"FreqLineQ":null,"VLine1":402.4,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":5.12,"TRtn1Q":null,"TRtn2":4.9,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"265A","VerSWMinor":null,"PctSucVlv":10.67,"PctSucVlvQ":null,"TSup1":5.12,"TSup1Q":null,"TSup2":5.5,"TSup2Q":null,"AmpTotalDraw":17,"AmpTotalDrawQ":"asProvided","TUSDA1":-46.5,"TUSDA1Q":"OOR","TUSDA2":-46.5,"TUSDA2Q":"OOR","TUSDA3":-46.5,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-06-30T05:28:13Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":null}}}
2025-11-24T13:20:47.424Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":6,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"6844dabb-f863-4584-9e72-ff91613c35a3","EventDtm":"2025-11-24T13:01:19Z","AppDtm":"2025-11-24T13:01:38Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:01:19Z","DeviceID":"JSGA623040164","GPSLockState":"LOCKED","GPSSatelliteCount":18,"GPSLastLock":0,"GPSLatitude":21.735665,"GPSLongitude":72.628787,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"98","LAC":"8405","CID":"236857089","RSSI":"-59","ExtPower":true,"ExtPowerVoltage":31.2,"BatteryVoltage":8,"DeviceTemp":34,"RTDLOn":false,"VerFW":"W0206 1.41","DeviceType":"CT3500","DoorState":"Open","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1031878","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:01:19Z","AssetType":"Reefer","AssetID":"CCLU1031878","OEM":"CARRIER","TAmb":30.81,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":15,"PctCO2Q":null,"PctCO2Set":5,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":170.98,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04502009","AmpPhA":13.67,"AmpPhB":13.53,"AmpPhC":13.67,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":16.24,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":89.58,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":436.27,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0.04,"PctO2Q":"unknown","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":15.53,"TRtn1Q":null,"TRtn2":15.49,"TRtn2Q":null,"TSet":15,"TSetQ":null,"VerSWMajor":"5180","VerSWMinor":null,"PctSucVlv":2.37,"PctSucVlvQ":null,"TSup1":15.04,"TSup1Q":null,"TSup2":15.23,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-03-09T09:34:16Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-24T13:20:47.429Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":7,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"b5bcbdf4-2429-4a9e-884e-73c79d1b72d4","EventDtm":"2025-11-24T13:02:41Z","AppDtm":"2025-11-24T13:02:56Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:02:41Z","DeviceID":"JSGA623040329","GPSLockState":"LOCKED","GPSSatelliteCount":11,"GPSLastLock":0,"GPSLatitude":17.548022,"GPSLongitude":78.380539,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19392","CID":"232207115","RSSI":"-57","ExtPower":true,"ExtPowerVoltage":33.9,"BatteryVoltage":8,"DeviceTemp":27,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1035976","LastAssetRunState":"Offline"},"ReeferData":null}}
2025-11-24T13:20:47.431Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":8,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"369190ed-7adc-4899-abf5-0076aeffa733","EventDtm":"2025-11-24T13:03:03Z","AppDtm":"2025-11-24T13:03:16Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:03:03Z","DeviceID":"JSGA622340343","GPSLockState":"LOCKED","GPSSatelliteCount":14,"GPSLastLock":0,"GPSLatitude":12.80498,"GPSLongitude":77.66225,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"45","LAC":"9003","CID":"46904076","RSSI":null,"ExtPower":true,"ExtPowerVoltage":30,"BatteryVoltage":8,"DeviceTemp":30,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1035976","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:03:03Z","AssetType":"Reefer","AssetID":"CCLU1035976","OEM":"CARRIER","TAmb":31.33,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":5,"PctCO2Q":null,"PctCO2Set":1,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":96.55,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04904656","AmpPhA":11.63,"AmpPhB":11.01,"AmpPhC":11.63,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":6.15,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":0,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":417.89,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":-0.07,"PctO2Q":"OOR","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":5.72,"TRtn1Q":null,"TRtn2":5.74,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"5180","VerSWMinor":null,"PctSucVlv":4.64,"PctSucVlvQ":null,"TSup1":4.92,"TSup1Q":null,"TSup2":4.84,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-05-12T10:01:32Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-24T13:20:47.434Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":9,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"4bc4d03c-4779-4f6d-b10a-3afc9c66b42a","EventDtm":"2025-11-24T13:05:20Z","AppDtm":"2025-11-24T13:05:35Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:05:20Z","DeviceID":"JSGA623040302","GPSLockState":"LOCKED","GPSSatelliteCount":12,"GPSLastLock":1,"GPSLatitude":19.252917,"GPSLongitude":73.016504,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"90","LAC":"6253","CID":"249578783","RSSI":"-71","ExtPower":true,"ExtPowerVoltage":29.6,"BatteryVoltage":8,"DeviceTemp":35,"RTDLOn":false,"VerFW":"W0206 1.41","DeviceType":"CT3500","DoorState":"Open","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TRIU6681882","LastAssetRunState":"Running"},"ReeferData":null}}
2025-11-24T13:20:47.436Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":10,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"b80dbccd-315d-438c-a3da-df448cffb470","EventDtm":"2025-11-24T14:51:10Z","AppDtm":"2025-11-24T13:09:51Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T14:51:10Z","DeviceID":"JSGA622180057","GPSLockState":"UNLOCKED","GPSSatelliteCount":255,"GPSLastLock":2740,"GPSLatitude":17.244358,"GPSLongitude":78.443679,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"32291","CID":"244550678","RSSI":"-77","ExtPower":true,"ExtPowerVoltage":33.9,"BatteryVoltage":8.1,"DeviceTemp":31,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":null,"LastAssetRunState":null},"ReeferData":null}}
2025-11-24T13:20:47.441Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":11,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"ff58ecab-9428-4668-9e55-6ed4a2dce65f","EventDtm":"2025-11-24T13:11:13Z","AppDtm":"2025-11-24T13:11:25Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:11:13Z","DeviceID":"JSGA623040290","GPSLockState":"LOCKED","GPSSatelliteCount":15,"GPSLastLock":0,"GPSLatitude":17.661588,"GPSLongitude":83.089054,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31121","CID":"232671233","RSSI":"-63","ExtPower":true,"ExtPowerVoltage":29.8,"BatteryVoltage":8,"DeviceTemp":32,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TDRU7153256","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:11:13Z","AssetType":"Reefer","AssetID":"TDRU7153256","OEM":"DAIKIN","TAmb":30.12,"TAmbQ":null,"TUSDA4":-72.8,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":50,"PSucQ":"asProvided","TDis":45.9,"TDisQ":null,"FreqComp":null,"TSuc":-14.2,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":1040,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":18,"PctExpVlvQ":null,"TEvap":3.31,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":75,"PctHumSetQ":"configured","FreqLine":50,"FreqLineQ":null,"VLine1":366.2,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":5.31,"TRtn1Q":null,"TRtn2":5.2,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"24C1","VerSWMinor":null,"PctSucVlv":97.56,"PctSucVlvQ":null,"TSup1":4,"TSup1Q":null,"TSup2":3.9,"TSup2Q":null,"AmpTotalDraw":14,"AmpTotalDrawQ":"asProvided","TUSDA1":-72.8,"TUSDA1Q":"OOR","TUSDA2":-72.8,"TUSDA2Q":"OOR","TUSDA3":-72.8,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-04-24T05:53:24Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":null}}}
2025-11-24T13:20:47.444Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":12,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"68d20915-5990-4085-adeb-c07df4a75918","EventDtm":"2025-11-24T13:11:24Z","AppDtm":"2025-11-24T13:11:48Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:11:24Z","DeviceID":"JSGA623040277","GPSLockState":"LOCKED","GPSSatelliteCount":13,"GPSLastLock":0,"GPSLatitude":17.572254,"GPSLongitude":78.515082,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19327","CID":"235323414","RSSI":"-67","ExtPower":true,"ExtPowerVoltage":33.6,"BatteryVoltage":8,"DeviceTemp":31,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"DFOU6120281","LastAssetRunState":"Running"},"ReeferData":null}}
2025-11-24T13:20:47.445Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":13,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"bc494b8c-683e-4ea1-9d83-7cbd66cf61ed","EventDtm":"2025-11-24T13:13:03Z","AppDtm":"2025-11-24T13:13:16Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:13:03Z","DeviceID":"JSGA622340343","GPSLockState":"LOCKED","GPSSatelliteCount":16,"GPSLastLock":0,"GPSLatitude":12.804954,"GPSLongitude":77.662176,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"45","LAC":"9003","CID":"46904076","RSSI":null,"ExtPower":true,"ExtPowerVoltage":30.3,"BatteryVoltage":8,"DeviceTemp":29,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1035976","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:13:03Z","AssetType":"Reefer","AssetID":"CCLU1035976","OEM":"CARRIER","TAmb":31.05,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":5,"PctCO2Q":null,"PctCO2Set":1,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":93.88,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04904656","AmpPhA":11.71,"AmpPhB":11.09,"AmpPhC":11.71,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":6.16,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":0,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":419.28,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0.04,"PctO2Q":"unknown","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":5.72,"TRtn1Q":null,"TRtn2":5.73,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"5180","VerSWMinor":null,"PctSucVlv":3.69,"PctSucVlvQ":null,"TSup1":5.05,"TSup1Q":null,"TSup2":4.98,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-05-12T10:01:32Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-24T13:20:47.447Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":14,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"5c5c0d61-5798-4fd7-a6ce-40ef2c19698e","EventDtm":"2025-11-24T13:13:21Z","AppDtm":"2025-11-24T13:13:36Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:13:21Z","DeviceID":"JSGA623040284","GPSLockState":"LOCKED","GPSSatelliteCount":11,"GPSLastLock":0,"GPSLatitude":17.537143,"GPSLongitude":78.175684,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19397","CID":"247361559","RSSI":"-75","ExtPower":true,"ExtPowerVoltage":28.3,"BatteryVoltage":8,"DeviceTemp":33,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TRIU6618637","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:13:21Z","AssetType":"Reefer","AssetID":"TRIU6618637","OEM":"CARRIER","TAmb":27.13,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":0,"PctCO2Q":null,"PctCO2Set":5,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":0,"PCond":193.96,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04898885","AmpPhA":9.29,"AmpPhB":10.75,"AmpPhC":9.29,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":-23.47,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":0,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":13.71,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":402.42,"VLine2":null,"VLine3":null,"MEvapFanLS":1,"PctO2":0,"PctO2Q":"asProvided","PctO2Set":10,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":-17.17,"TRtn1Q":null,"TRtn2":-17.22,"TRtn2Q":null,"TSet":-20,"TSetQ":null,"VerSWMajor":"5168","VerSWMinor":null,"PctSucVlv":100,"PctSucVlvQ":null,"TSup1":-31.73,"TSup1Q":null,"TSup2":-31.05,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-09-30T10:27:06Z","PTIResult":"Skipped","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":[{"OemAlarm":52,"RCAlias":"AL52","RCSeverity":"Minor","Active":true},{"OemAlarm":53,"RCAlias":"AL53","RCSeverity":"Informational","Active":true}]}}}
2025-11-24T13:20:47.450Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":15,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"a0c0b1e8-58fe-492c-bcea-06e0045b236d","EventDtm":"2025-11-24T13:14:33Z","AppDtm":"2025-11-24T13:14:52Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:14:33Z","DeviceID":"JSGA622180052","GPSLockState":"LOCKED","GPSSatelliteCount":17,"GPSLastLock":0,"GPSLatitude":17.547747,"GPSLongitude":78.380503,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19392","CID":"232207115","RSSI":null,"ExtPower":true,"ExtPowerVoltage":34,"BatteryVoltage":8.1,"DeviceTemp":27,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":null,"LastAssetRunState":null},"ReeferData":null}}
2025-11-24T13:20:47.451Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":16,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"2007269b-99a4-4c6a-9862-9cb447c8bfb4","EventDtm":"2025-11-24T13:18:11Z","AppDtm":"2025-11-24T13:18:24Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:18:11Z","DeviceID":"JSGA623040309","GPSLockState":"LOCKED","GPSSatelliteCount":18,"GPSLastLock":0,"GPSLatitude":16.892092,"GPSLongitude":79.476262,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31802","CID":"247193878","RSSI":"-69","ExtPower":true,"ExtPowerVoltage":32.1,"BatteryVoltage":8,"DeviceTemp":32,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CXRU1045896","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:18:11Z","AssetType":"Reefer","AssetID":"CXRU1045896","OEM":"DAIKIN","TAmb":28.38,"TAmbQ":null,"TUSDA4":-53.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":-40,"PSucQ":"asProvided","TDis":93.6,"TDisQ":null,"FreqComp":null,"TSuc":-29.5,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":810,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":14,"PctExpVlvQ":null,"TEvap":-0.69,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":65,"PctHumSetQ":"off","FreqLine":null,"FreqLineQ":null,"VLine1":408.3,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":4.5,"TRtn1Q":null,"TRtn2":5.1,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"265A","VerSWMinor":null,"PctSucVlv":10.67,"PctSucVlvQ":null,"TSup1":4.12,"TSup1Q":null,"TSup2":4,"TSup2Q":null,"AmpTotalDraw":11,"AmpTotalDrawQ":"asProvided","TUSDA1":-53.4,"TUSDA1Q":"OOR","TUSDA2":-53.4,"TUSDA2Q":"OOR","TUSDA3":-53.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-07-04T07:47:44Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":null}}}
2025-11-24T13:20:47.452Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":17,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"5750c5c4-416b-473a-bb73-5b2504ec182c","EventDtm":"2025-11-24T13:18:44Z","AppDtm":"2025-11-24T13:19:00Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:18:44Z","DeviceID":"JSGA623040188","GPSLockState":"LOCKED","GPSSatelliteCount":17,"GPSLastLock":0,"GPSLatitude":17.533282,"GPSLongitude":78.433095,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19315","CID":"244342551","RSSI":null,"ExtPower":true,"ExtPowerVoltage":33.4,"BatteryVoltage":8.1,"DeviceTemp":31,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"HDMU5221979","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:18:44Z","AssetType":"Reefer","AssetID":"HDMU5221979","OEM":"DAIKIN","TAmb":28.19,"TAmbQ":null,"TUSDA4":-46.3,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":250,"PSucQ":"asProvided","TDis":60.5,"TDisQ":null,"FreqComp":null,"TSuc":20.7,"TSucQ":null,"MCond":"Off","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":880,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":5,"PctExpVlvQ":null,"TEvap":-0.06,"TEvapQ":null,"MCtrl3":"ThermoOff","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":14.96,"PctHumQ":null,"PctHumSet":65,"PctHumSetQ":"configured","FreqLine":50,"FreqLineQ":null,"VLine1":426.8,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"FanReduction","TRtn1":5.5,"TRtn1Q":null,"TRtn2":136.1,"TRtn2Q":"OOR","TSet":5,"TSetQ":null,"VerSWMajor":"24C2","VerSWMinor":null,"PctSucVlv":87.2,"PctSucVlvQ":null,"TSup1":5,"TSup1Q":null,"TSup2":5,"TSup2Q":null,"AmpTotalDraw":2,"AmpTotalDrawQ":"asProvided","TUSDA1":-46.3,"TUSDA1Q":"OOR","TUSDA2":-46.3,"TUSDA2Q":"OOR","TUSDA3":-46.3,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"OOR","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-02-13T11:13:57Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":[{"OemAlarm":409,"RCAlias":"E409","RCSeverity":"Informational","Active":true},{"OemAlarm":404,"RCAlias":"E404","RCSeverity":"Minor","Active":true}]}}}
2025-11-24T13:20:47.453Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":18,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"ac1ae417-986c-4c1f-a6da-7312300737b0","EventDtm":"2025-11-24T13:19:20Z","AppDtm":"2025-11-24T13:19:37Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:19:20Z","DeviceID":"JSGA622340187","GPSLockState":"LOCKED","GPSSatelliteCount":14,"GPSLastLock":0,"GPSLatitude":16.891797,"GPSLongitude":79.475916,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31802","CID":"247193878","RSSI":"-73","ExtPower":true,"ExtPowerVoltage":32.5,"BatteryVoltage":8,"DeviceTemp":32,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CXRU1032564","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:19:20Z","AssetType":"Reefer","AssetID":"CXRU1032564","OEM":"DAIKIN","TAmb":28.38,"TAmbQ":null,"TUSDA4":-53.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":-30,"PSucQ":"asProvided","TDis":67.4,"TDisQ":null,"FreqComp":null,"TSuc":-29.4,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":910,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":14,"PctExpVlvQ":null,"TEvap":3.5,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":75,"PctHumSetQ":"off","FreqLine":null,"FreqLineQ":null,"VLine1":410.3,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":5.31,"TRtn1Q":null,"TRtn2":33.8,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"265A","VerSWMinor":null,"PctSucVlv":9.45,"PctSucVlvQ":null,"TSup1":4.12,"TSup1Q":null,"TSup2":3.8,"TSup2Q":null,"AmpTotalDraw":13,"AmpTotalDrawQ":"asProvided","TUSDA1":-53.4,"TUSDA1Q":"OOR","TUSDA2":-53.4,"TUSDA2Q":"OOR","TUSDA3":-53.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-07-04T06:44:58Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":[{"OemAlarm":404,"RCAlias":"E404","RCSeverity":"Minor","Active":true}]}}}
2025-11-24T13:20:47.455Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":19,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"d11aac49-0d6b-43e4-a346-c2fec11e57da","EventDtm":"2025-11-24T13:19:24Z","AppDtm":"2025-11-24T13:19:42Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:19:24Z","DeviceID":"JSGA623040331","GPSLockState":"LOCKED","GPSSatelliteCount":14,"GPSLastLock":0,"GPSLatitude":17.51619,"GPSLongitude":82.962415,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31122","CID":"255596567","RSSI":"-69","ExtPower":true,"ExtPowerVoltage":30.4,"BatteryVoltage":8,"DeviceTemp":29,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"BMOU9782197","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:19:24Z","AssetType":"Reefer","AssetID":"BMOU9782197","OEM":"DAIKIN","TAmb":26.12,"TAmbQ":null,"TUSDA4":-53.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":20,"PSucQ":"asProvided","TDis":81.1,"TDisQ":null,"FreqComp":null,"TSuc":-6.3,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":790,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":42,"PctExpVlvQ":null,"TEvap":21.81,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":60,"PctHumSetQ":"off","FreqLine":null,"FreqLineQ":null,"VLine1":385.3,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":-0.06,"TRtn1Q":null,"TRtn2":24.6,"TRtn2Q":null,"TSet":23,"TSetQ":null,"VerSWMajor":"265A","VerSWMinor":null,"PctSucVlv":9.45,"PctSucVlvQ":null,"TSup1":23,"TSup1Q":null,"TSup2":23.1,"TSup2Q":null,"AmpTotalDraw":11,"AmpTotalDrawQ":"asProvided","TUSDA1":-53.4,"TUSDA1Q":"OOR","TUSDA2":-53.4,"TUSDA2Q":"OOR","TUSDA3":-53.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2024-09-09T22:31:45Z","PTIResult":"Unknown","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":[{"OemAlarm":403,"RCAlias":"E403","RCSeverity":"Minor","Active":true}]}}}
2025-11-24T13:20:47.456Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":20,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"5de1d727-72ca-40a9-ad40-8587a91ca895","EventDtm":"2025-11-24T13:19:32Z","AppDtm":"2025-11-24T13:19:47Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:19:32Z","DeviceID":"JSGA622340482","GPSLockState":"LOCKED","GPSSatelliteCount":17,"GPSLastLock":0,"GPSLatitude":17.678674,"GPSLongitude":78.720141,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19328","CID":"254963203","RSSI":null,"ExtPower":true,"ExtPowerVoltage":32.2,"BatteryVoltage":8,"DeviceTemp":29,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CAIU5422720","LastAssetRunState":"Faulty"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:19:32Z","AssetType":"Reefer","AssetID":"CAIU5422720","OEM":"DAIKIN","TAmb":24.5,"TAmbQ":null,"TUSDA4":-53.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":250,"PSucQ":"asProvided","TDis":38.1,"TDisQ":null,"FreqComp":null,"TSuc":28.6,"TSucQ":null,"MCond":"Off","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":600,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":400,"PctExpVlvQ":"OOR","TEvap":5.69,"TEvapQ":null,"MCtrl3":"EmergencyShutdown","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"Off","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":85.04,"PctHumQ":null,"PctHumSet":60,"PctHumSetQ":"off","FreqLine":null,"FreqLineQ":null,"VLine1":403.4,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"AlarmShutdown","TRtn1":6.62,"TRtn1Q":null,"TRtn2":6.3,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"27C2","VerSWMinor":null,"PctSucVlv":100,"PctSucVlvQ":null,"TSup1":7,"TSup1Q":null,"TSup2":7,"TSup2Q":null,"AmpTotalDraw":0,"AmpTotalDrawQ":"asProvided","TUSDA1":-53.4,"TUSDA1Q":"OOR","TUSDA2":-53.4,"TUSDA2Q":"OOR","TUSDA3":-53.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-10-30T05:56:46Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":[{"OemAlarm":803,"RCAlias":"F803","RCSeverity":"Severe","Active":true},{"OemAlarm":809,"RCAlias":"F809","RCSeverity":"Severe","Active":true}]}}}
2025-11-24T13:21:13.292Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":21,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"873ed056-0a49-46e1-83c8-751b5785b2b7","EventDtm":"2025-11-24T13:20:56Z","AppDtm":"2025-11-24T13:21:11Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-24T13:20:56Z","DeviceID":"JSGA623040313","GPSLockState":"LOCKED","GPSSatelliteCount":13,"GPSLastLock":0,"GPSLatitude":28.364736,"GPSLongitude":75.581341,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"70","LAC":"1009","CID":"255024908","RSSI":"-77","ExtPower":true,"ExtPowerVoltage":33.8,"BatteryVoltage":8,"DeviceTemp":25,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"MORU0322200","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-24T13:20:56Z","AssetType":"Reefer","AssetID":"MORU0322200","OEM":"THERMOKING","TAmb":17,"TAmbQ":"asProvided","TUSDA4":3276.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":null,"PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":3276.6,"PSucQ":"unavailable","TDis":3276.6,"TDisQ":"OOR","FreqComp":50,"TSuc":3276.6,"TSucQ":"unavailable","MCond":null,"PCond":3276.6,"PCondQ":"unavailable","TCond":35,"TCondQ":"asProvided","MCtrl":"MaintainCool","SnCtrl":"E001083433","AmpPhA":5.2,"AmpPhB":6,"AmpPhC":5.9,"PDis":3276.6,"PDisQ":"unavailable","PctEconVlv":255,"PctEconVlvQ":"notUsed","PctExpVlv":255,"PctExpVlvQ":"notUsed","TEvap":16.9,"TEvapQ":"asProvided","MCtrl3":"Chilled","PctHtr":255,"PctHtrQ":"notUsed","MEvapFanHS":null,"PctGasVlv":255,"PctGasVlvQ":"notUsed","PctHum":255,"PctHumQ":"OOR","PctHumSet":255,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":400,"VLine2":null,"VLine3":null,"MEvapFanLS":null,"PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":null,"TRtn1":16.2,"TRtn1Q":"asProvided","TRtn2":3276.6,"TRtn2Q":"OOR","TSet":16,"TSetQ":null,"VerSWMajor":"12060800","VerSWMinor":null,"PctSucVlv":255,"PctSucVlvQ":"notUsed","TSup1":16,"TSup1Q":"asProvided","TSup2":16,"TSup2Q":"asProvided","AmpTotalDraw":5.8,"AmpTotalDrawQ":null,"TUSDA1":3276.4,"TUSDA1Q":"OOR","TUSDA2":3276.4,"TUSDA2Q":"OOR","TUSDA3":3276.4,"TUSDA3Q":"OOR","CmhVent":1275,"CmhVentQ":"OOR","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":null,"PTIResult":null,"TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}