## Alerts
Timestamp | Alert ID | Device ID | Message Type | Latitude | Longitude | Alert Type | Severity | Description | Raw JSON
2025-11-28T11:46:47.024Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":1,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"1c24c2f2-32b9-45f5-bb23-0e02d6320465","EventDtm":"2025-11-28T11:35:47Z","AppDtm":"2025-11-28T11:36:01Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:35:47Z","DeviceID":"JSGA622340343","GPSLockState":"LOCKED","GPSSatelliteCount":14,"GPSLastLock":0,"GPSLatitude":12.80494,"GPSLongitude":77.662172,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"45","LAC":"9003","CID":"46904076","RSSI":null,"ExtPower":true,"ExtPowerVoltage":29.7,"BatteryVoltage":8,"DeviceTemp":30,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1035976","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:35:47Z","AssetType":"Reefer","AssetID":"CCLU1035976","OEM":"CARRIER","TAmb":31.53,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":5,"PctCO2Q":null,"PctCO2Set":1,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":96.21,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04904656","AmpPhA":11.47,"AmpPhB":10.96,"AmpPhC":11.47,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":6.15,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":0,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":416.48,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":-0.09,"PctO2Q":"OOR","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":5.73,"TRtn1Q":null,"TRtn2":5.74,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"5180","VerSWMinor":null,"PctSucVlv":4.57,"PctSucVlvQ":null,"TSup1":4.91,"TSup1Q":null,"TSup2":5.05,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-05-12T10:01:32Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T11:46:47.041Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":2,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"e6c10214-e710-4f1b-b1f2-6d0f56ac4686","EventDtm":"2025-11-28T11:39:05Z","AppDtm":"2025-11-28T11:39:22Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:39:05Z","DeviceID":"JSGA623040302","GPSLockState":"LOCKED","GPSSatelliteCount":11,"GPSLastLock":1,"GPSLatitude":19.252947,"GPSLongitude":73.01647,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"90","LAC":"6253","CID":"249578853","RSSI":"-65","ExtPower":true,"ExtPowerVoltage":29.7,"BatteryVoltage":8,"DeviceTemp":36,"RTDLOn":false,"VerFW":"W0206 1.41","DeviceType":"CT3500","DoorState":"Open","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TRIU6681882","LastAssetRunState":"Running"},"ReeferData":null}}
2025-11-28T11:46:47.050Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":3,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"d2a5a249-90e5-4b4b-ba0f-cdd9324a01ce","EventDtm":"2025-11-28T11:41:47Z","AppDtm":"2025-11-28T11:42:00Z","Events":["BatteryPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:41:47Z","DeviceID":"JSGA623040290","GPSLockState":"LOCKED","GPSSatelliteCount":18,"GPSLastLock":0,"GPSLatitude":17.661555,"GPSLongitude":83.089127,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31121","CID":"232671233","RSSI":"-67","ExtPower":false,"ExtPowerVoltage":30.9,"BatteryVoltage":8,"DeviceTemp":33,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TDRU7153256","LastAssetRunState":"Offline"},"ReeferData":null}}
2025-11-28T11:46:47.050Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":4,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"a467bbc1-0c5e-412a-91c9-e95a286ab728","EventDtm":"2025-11-28T11:42:39Z","AppDtm":"2025-11-28T11:42:58Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:42:39Z","DeviceID":"JSGA623040314","GPSLockState":"LOCKED","GPSSatelliteCount":11,"GPSLastLock":1,"GPSLatitude":19.252991,"GPSLongitude":73.016553,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"90","LAC":"6253","CID":"249578853","RSSI":"-65","ExtPower":true,"ExtPowerVoltage":30,"BatteryVoltage":8,"DeviceTemp":36,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1036859","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:42:39Z","AssetType":"Reefer","AssetID":"CCLU1036859","OEM":"CARRIER","TAmb":29.26,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":5,"PctCO2Q":null,"PctCO2Set":3,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-187.89,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":135.16,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04547502","AmpPhA":10.98,"AmpPhB":11.34,"AmpPhC":10.98,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":5.94,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":0,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":404.93,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0.14,"PctO2Q":"unknown","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":5.41,"TRtn1Q":null,"TRtn2":5.54,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"5186","VerSWMinor":null,"PctSucVlv":5.01,"PctSucVlvQ":null,"TSup1":8.3,"TSup1Q":null,"TSup2":5.13,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-06-11T12:04:15Z","PTIResult":"Skipped","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T11:46:47.059Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":5,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"6b5cf5ee-3e74-47e0-905a-810568bfeee1","EventDtm":"2025-11-28T11:43:48Z","AppDtm":"2025-11-28T11:44:00Z","Events":["ACPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:43:48Z","DeviceID":"JSGA623040290","GPSLockState":"LOCKED","GPSSatelliteCount":17,"GPSLastLock":0,"GPSLatitude":17.661547,"GPSLongitude":83.089126,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31121","CID":"232671233","RSSI":"-67","ExtPower":true,"ExtPowerVoltage":33.6,"BatteryVoltage":8,"DeviceTemp":33,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TDRU7153256","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:43:48Z","AssetType":"Reefer","AssetID":"TDRU7153256","OEM":"DAIKIN","TAmb":29.62,"TAmbQ":null,"TUSDA4":-72.8,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":230,"PSucQ":"asProvided","TDis":42.1,"TDisQ":null,"FreqComp":null,"TSuc":30.3,"TSucQ":null,"MCond":"Off","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":250,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":5,"PctExpVlvQ":null,"TEvap":2.5,"TEvapQ":null,"MCtrl3":"ThermoOff","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":75,"PctHumSetQ":"configured","FreqLine":50,"FreqLineQ":null,"VLine1":411.6,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"FanReduction","TRtn1":5.38,"TRtn1Q":null,"TRtn2":5.3,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"24C1","VerSWMinor":null,"PctSucVlv":47.56,"PctSucVlvQ":null,"TSup1":4,"TSup1Q":null,"TSup2":4,"TSup2Q":null,"AmpTotalDraw":0,"AmpTotalDrawQ":"asProvided","TUSDA1":-72.8,"TUSDA1Q":"OOR","TUSDA2":-72.8,"TUSDA2Q":"OOR","TUSDA3":-72.8,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-04-24T05:53:24Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":null}}}
2025-11-28T11:46:47.059Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":6,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"aecf6144-5198-41b0-99b5-673611ea381c","EventDtm":"2025-11-28T11:45:19Z","AppDtm":"2025-11-28T11:45:34Z","Events":["BatteryPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:45:19Z","DeviceID":"JSGA623040311","GPSLockState":"LOCKED","GPSSatelliteCount":14,"GPSLastLock":0,"GPSLatitude":26.606089,"GPSLongitude":80.723629,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"15","LAC":"55363","CID":"210193709","RSSI":null,"ExtPower":false,"ExtPowerVoltage":5.3,"BatteryVoltage":8,"DeviceTemp":28,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":null,"LastAssetRunState":null},"ReeferData":null}}
2025-11-28T11:46:47.071Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":7,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"580a4b1b-f792-4bfc-9569-9b7ffd7c97d2","EventDtm":"2025-11-28T11:45:47Z","AppDtm":"2025-11-28T11:46:01Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:45:47Z","DeviceID":"JSGA622340343","GPSLockState":"LOCKED","GPSSatelliteCount":13,"GPSLastLock":0,"GPSLatitude":12.804931,"GPSLongitude":77.66219,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"45","LAC":"9003","CID":"46904076","RSSI":null,"ExtPower":true,"ExtPowerVoltage":29.6,"BatteryVoltage":8,"DeviceTemp":29,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1035976","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:45:47Z","AssetType":"Reefer","AssetID":"CCLU1035976","OEM":"CARRIER","TAmb":31.45,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":5,"PctCO2Q":null,"PctCO2Set":1,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":94.97,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04904656","AmpPhA":11.28,"AmpPhB":10.61,"AmpPhC":11.28,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":6.14,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":0,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":413.03,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0.04,"PctO2Q":"unknown","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":5.71,"TRtn1Q":null,"TRtn2":5.73,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"5180","VerSWMinor":null,"PctSucVlv":3.74,"PctSucVlvQ":null,"TSup1":5.03,"TSup1Q":null,"TSup2":5.17,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-05-12T10:01:32Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T11:46:56.679Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":8,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"253be668-426b-41e3-ad05-5c6d567fc5e8","EventDtm":"2025-11-28T11:46:40Z","AppDtm":"2025-11-28T11:46:55Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:46:40Z","DeviceID":"JSGA623040320","GPSLockState":"LOCKED","GPSSatelliteCount":14,"GPSLastLock":0,"GPSLatitude":17.657866,"GPSLongitude":83.101659,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31121","CID":"248666903","RSSI":"-73","ExtPower":true,"ExtPowerVoltage":30.5,"BatteryVoltage":7.9,"DeviceTemp":31,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"KKFU6712079","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:46:40Z","AssetType":"Reefer","AssetID":"KKFU6712079","OEM":"CARRIER","TAmb":28.09,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":0,"PctCO2Q":null,"PctCO2Set":0,"PctCO2SetQ":null,"PSuc":69.6,"PSucQ":null,"TDis":-189.45,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":0,"PCond":113.76,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Idle","SnCtrl":"04742313","AmpPhA":0.92,"AmpPhB":1.57,"AmpPhC":0.92,"PDis":130.91,"PDisQ":null,"PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":20.93,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":0,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":0,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":417.39,"VLine2":null,"VLine3":null,"MEvapFanLS":1,"PctO2":0,"PctO2Q":"asProvided","PctO2Set":0,"PctO2SetQ":"OOR","MCtrl2":null,"TRtn1":20.65,"TRtn1Q":null,"TRtn2":20.68,"TRtn2Q":null,"TSet":20,"TSetQ":null,"VerSWMajor":"5154","VerSWMinor":null,"PctSucVlv":19.87,"PctSucVlvQ":null,"TSup1":20.65,"TSup1Q":null,"TSup2":20.59,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2024-03-28T10:32:52Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T11:47:48.326Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":9,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"88ee6847-7086-4e41-97a4-caa1e35c88f9","EventDtm":"2025-11-28T11:47:35Z","AppDtm":"2025-11-28T11:47:48Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:47:35Z","DeviceID":"JSGA623040262","GPSLockState":"LOCKED","GPSSatelliteCount":12,"GPSLastLock":0,"GPSLatitude":12.804964,"GPSLongitude":77.662235,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"45","LAC":"9003","CID":"46904076","RSSI":null,"ExtPower":true,"ExtPowerVoltage":29.5,"BatteryVoltage":8,"DeviceTemp":28,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TRIU6681542","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:47:35Z","AssetType":"Reefer","AssetID":"TRIU6681542","OEM":"CARRIER","TAmb":22.89,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":5,"PctCO2Q":null,"PctCO2Set":1,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":93.88,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04958167","AmpPhA":10.53,"AmpPhB":10.37,"AmpPhC":10.53,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":5.95,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":96.32,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":411.98,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0.02,"PctO2Q":"unknown","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":5.39,"TRtn1Q":null,"TRtn2":5.39,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"5178","VerSWMinor":null,"PctSucVlv":2.83,"PctSucVlvQ":null,"TSup1":5.04,"TSup1Q":null,"TSup2":5.06,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-05-12T09:58:17Z","PTIResult":"Skipped","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T11:48:48.402Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":10,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"de13850b-8e96-4e36-9944-7efe322747cd","EventDtm":"2025-11-28T11:48:33Z","AppDtm":"2025-11-28T11:48:47Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:48:33Z","DeviceID":"JSGA622180045","GPSLockState":"LOCKED","GPSSatelliteCount":19,"GPSLastLock":0,"GPSLatitude":26.310541,"GPSLongitude":91.717648,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"405","MNC":"56","LAC":"7134","CID":"250551313","RSSI":null,"ExtPower":true,"ExtPowerVoltage":31.9,"BatteryVoltage":8,"DeviceTemp":27,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TDRU7151905","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:48:33Z","AssetType":"Reefer","AssetID":"TDRU7151905","OEM":"DAIKIN","TAmb":23.81,"TAmbQ":null,"TUSDA4":-46.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":50,"PSucQ":"asProvided","TDis":73.1,"TDisQ":null,"FreqComp":null,"TSuc":-7.4,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":830,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":58,"PctExpVlvQ":null,"TEvap":-0.06,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":75,"PctHumSetQ":"configured","FreqLine":50,"FreqLineQ":null,"VLine1":404.4,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":-0.06,"TRtn1Q":null,"TRtn2":5.2,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"24C2","VerSWMinor":null,"PctSucVlv":84.76,"PctSucVlvQ":null,"TSup1":4.12,"TSup1Q":null,"TSup2":3.8,"TSup2Q":null,"AmpTotalDraw":10,"AmpTotalDrawQ":"asProvided","TUSDA1":-46.4,"TUSDA1Q":"OOR","TUSDA2":-46.3,"TUSDA2Q":"OOR","TUSDA3":-46.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"OOR","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":null,"PTIResult":null,"TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":[{"OemAlarm":403,"RCAlias":"E403","RCSeverity":"Minor","Active":true},{"OemAlarm":409,"RCAlias":"E409","RCSeverity":"Informational","Active":true}]}}}
2025-11-28T11:50:29.353Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":11,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"4617c9d9-b269-4248-9023-6aa37afeb3e1","EventDtm":"2025-11-28T11:50:16Z","AppDtm":"2025-11-28T11:50:28Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:50:16Z","DeviceID":"JSGA623040321","GPSLockState":"LOCKED","GPSSatelliteCount":17,"GPSLastLock":0,"GPSLatitude":12.816186,"GPSLongitude":77.687152,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"45","LAC":"7055","CID":"103377676","RSSI":null,"ExtPower":true,"ExtPowerVoltage":30.8,"BatteryVoltage":8,"DeviceTemp":30,"RTDLOn":false,"VerFW":"W0206 1.41","DeviceType":"CT3500","DoorState":"Open","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TRIU6617250","LastAssetRunState":"Running"},"ReeferData":null}}
2025-11-28T11:51:24.478Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":12,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"392efb8f-7cb9-4f29-8498-e6815a56dbf4","EventDtm":"2025-11-28T11:51:07Z","AppDtm":"2025-11-28T11:51:23Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:51:07Z","DeviceID":"JSGA622340187","GPSLockState":"LOCKED","GPSSatelliteCount":16,"GPSLastLock":0,"GPSLatitude":16.891746,"GPSLongitude":79.47606,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31802","CID":"247193878","RSSI":"-73","ExtPower":true,"ExtPowerVoltage":32.5,"BatteryVoltage":8,"DeviceTemp":32,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CXRU1032564","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:51:07Z","AssetType":"Reefer","AssetID":"CXRU1032564","OEM":"DAIKIN","TAmb":28.12,"TAmbQ":null,"TUSDA4":-53.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":-20,"PSucQ":"asProvided","TDis":72.6,"TDisQ":null,"FreqComp":null,"TSuc":-30.7,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":890,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":14,"PctExpVlvQ":null,"TEvap":3.38,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":75,"PctHumSetQ":"off","FreqLine":null,"FreqLineQ":null,"VLine1":407.7,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":5.31,"TRtn1Q":null,"TRtn2":40,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"265A","VerSWMinor":null,"PctSucVlv":9.15,"PctSucVlvQ":null,"TSup1":4.12,"TSup1Q":null,"TSup2":3.8,"TSup2Q":null,"AmpTotalDraw":12,"AmpTotalDrawQ":"asProvided","TUSDA1":-53.4,"TUSDA1Q":"OOR","TUSDA2":-53.4,"TUSDA2Q":"OOR","TUSDA3":-53.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-07-04T06:44:58Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":[{"OemAlarm":404,"RCAlias":"E404","RCSeverity":"Minor","Active":true}]}}}
2025-11-28T11:54:09.939Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":13,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"88bc8a5b-bd6b-405d-a848-c8888af26af3","EventDtm":"2025-11-28T13:36:16Z","AppDtm":"2025-11-28T11:54:09Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T13:36:16Z","DeviceID":"JSGA622180057","GPSLockState":"UNLOCKED","GPSSatelliteCount":255,"GPSLastLock":8425,"GPSLatitude":17.244358,"GPSLongitude":78.443679,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"32291","CID":"244550678","RSSI":"-79","ExtPower":true,"ExtPowerVoltage":34.1,"BatteryVoltage":8.1,"DeviceTemp":32,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":null,"LastAssetRunState":null},"ReeferData":null}}
2025-11-28T11:54:18.549Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":14,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"82f794b5-b8b4-4391-8aad-352ea72f1f9f","EventDtm":"2025-11-28T11:54:06Z","AppDtm":"2025-11-28T11:54:18Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:54:06Z","DeviceID":"JSGA623040329","GPSLockState":"UNLOCKED","GPSSatelliteCount":10,"GPSLastLock":39,"GPSLatitude":17.548064,"GPSLongitude":78.380413,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19392","CID":"232207115","RSSI":"-59","ExtPower":true,"ExtPowerVoltage":33.5,"BatteryVoltage":8,"DeviceTemp":26,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1035976","LastAssetRunState":"Offline"},"ReeferData":null}}
2025-11-28T11:56:08.330Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":15,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"1c99378f-b93b-4a88-a081-61ea2cf5a1ee","EventDtm":"2025-11-28T11:55:54Z","AppDtm":"2025-11-28T11:56:08Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:55:54Z","DeviceID":"JSGA622340343","GPSLockState":"LOCKED","GPSSatelliteCount":15,"GPSLastLock":0,"GPSLatitude":12.804974,"GPSLongitude":77.662202,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"45","LAC":"9003","CID":"46904076","RSSI":null,"ExtPower":true,"ExtPowerVoltage":29.7,"BatteryVoltage":8,"DeviceTemp":29,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CCLU1035976","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:55:54Z","AssetType":"Reefer","AssetID":"CCLU1035976","OEM":"CARRIER","TAmb":31.82,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":5,"PctCO2Q":null,"PctCO2Set":1,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-196.88,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":96.8,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04904656","AmpPhA":11.41,"AmpPhB":10.99,"AmpPhC":11.41,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":6.19,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":0,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":416.2,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0.09,"PctO2Q":"unknown","PctO2Set":3,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":5.75,"TRtn1Q":null,"TRtn2":5.77,"TRtn2Q":null,"TSet":5,"TSetQ":null,"VerSWMajor":"5180","VerSWMinor":null,"PctSucVlv":5.03,"PctSucVlvQ":null,"TSup1":5.08,"TSup1Q":null,"TSup2":5.21,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-05-12T10:01:32Z","PTIResult":"Failed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T11:56:24.931Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":16,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"3fa7651d-c549-4142-92bf-6886c5b1240b","EventDtm":"2025-11-28T11:56:09Z","AppDtm":"2025-11-28T11:56:24Z","Events":["ACPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:56:09Z","DeviceID":"JSGA623040311","GPSLockState":"LOCKED","GPSSatelliteCount":13,"GPSLastLock":0,"GPSLatitude":26.606094,"GPSLongitude":80.723696,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"15","LAC":"55363","CID":"210193709","RSSI":null,"ExtPower":true,"ExtPowerVoltage":34.1,"BatteryVoltage":8,"DeviceTemp":26,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":null,"LastAssetRunState":null},"ReeferData":null}}
2025-11-28T11:56:34.093Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":17,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"151809f9-eea3-4d61-ad66-fcb00c8850f2","EventDtm":"2025-11-28T11:56:09Z","AppDtm":"2025-11-28T11:56:33Z","Events":["BatteryPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:56:09Z","DeviceID":"JSGA623040311","GPSLockState":"LOCKED","GPSSatelliteCount":13,"GPSLastLock":0,"GPSLatitude":26.606094,"GPSLongitude":80.723696,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"15","LAC":"55363","CID":"210193709","RSSI":null,"ExtPower":false,"ExtPowerVoltage":34.1,"BatteryVoltage":8,"DeviceTemp":26,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":null,"LastAssetRunState":null},"ReeferData":null}}
2025-11-28T11:58:20.142Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":18,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"c70aa277-9cbd-4d9e-b925-9cd29d939fa1","EventDtm":"2025-11-28T11:58:06Z","AppDtm":"2025-11-28T11:58:19Z","Events":["ACPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:58:06Z","DeviceID":"JSGA623040311","GPSLockState":"LOCKED","GPSSatelliteCount":11,"GPSLastLock":0,"GPSLatitude":26.606115,"GPSLongitude":80.72368,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"15","LAC":"55363","CID":"210193709","RSSI":null,"ExtPower":true,"ExtPowerVoltage":7.4,"BatteryVoltage":8,"DeviceTemp":26,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":null,"LastAssetRunState":null},"ReeferData":null}}
2025-11-28T11:58:29.108Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":19,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"583d3875-9b7a-45ec-9105-bcd4110e54fc","EventDtm":"2025-11-28T11:58:06Z","AppDtm":"2025-11-28T11:58:28Z","Events":["BatteryPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:58:06Z","DeviceID":"JSGA623040311","GPSLockState":"LOCKED","GPSSatelliteCount":11,"GPSLastLock":0,"GPSLatitude":26.606115,"GPSLongitude":80.72368,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"15","LAC":"55363","CID":"210193709","RSSI":null,"ExtPower":false,"ExtPowerVoltage":7.4,"BatteryVoltage":8,"DeviceTemp":26,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":null,"LastAssetRunState":null},"ReeferData":null}}
2025-11-28T11:59:00.100Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":20,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"1fd40688-104c-4c51-8a33-402928106545","EventDtm":"2025-11-28T11:58:42Z","AppDtm":"2025-11-28T11:58:59Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:58:42Z","DeviceID":"JSGA623040309","GPSLockState":"LOCKED","GPSSatelliteCount":19,"GPSLastLock":0,"GPSLatitude":16.892158,"GPSLongitude":79.47624,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31802","CID":"247193878","RSSI":"-69","ExtPower":true,"ExtPowerVoltage":32.1,"BatteryVoltage":8,"DeviceTemp":32,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"CXRU1045896","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:58:42Z","AssetType":"Reefer","AssetID":"CXRU1045896","OEM":"DAIKIN","TAmb":28,"TAmbQ":null,"TUSDA4":-53.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":-40,"PSucQ":"asProvided","TDis":92.8,"TDisQ":null,"FreqComp":null,"TSuc":-28.5,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":800,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":14,"PctExpVlvQ":null,"TEvap":-1.81,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":100.39,"PctHumQ":"OOR","PctHumSet":65,"PctHumSetQ":"off","FreqLine":null,"FreqLineQ":null,"VLine1":409,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":4.5,"TRtn1Q":null,"TRtn2":5.1,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"265A","VerSWMinor":null,"PctSucVlv":10.98,"PctSucVlvQ":null,"TSup1":4.12,"TSup1Q":null,"TSup2":3.9,"TSup2Q":null,"AmpTotalDraw":11,"AmpTotalDrawQ":"asProvided","TUSDA1":-53.4,"TUSDA1Q":"OOR","TUSDA2":-53.4,"TUSDA2Q":"OOR","TUSDA3":-53.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"error","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-07-04T07:47:44Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":null}}}
2025-11-28T11:59:16.206Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":21,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"f1c13f99-c038-457b-a2d2-58cbc28d1746","EventDtm":"2025-11-28T11:58:55Z","AppDtm":"2025-11-28T11:59:15Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:58:55Z","DeviceID":"JSGA623040277","GPSLockState":"LOCKED","GPSSatelliteCount":14,"GPSLastLock":0,"GPSLatitude":17.572322,"GPSLongitude":78.515051,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19327","CID":"235323415","RSSI":"-67","ExtPower":true,"ExtPowerVoltage":33.2,"BatteryVoltage":8,"DeviceTemp":30,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"DFOU6120281","LastAssetRunState":"Running"},"ReeferData":null}}
2025-11-28T11:59:17.750Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":22,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"96e9755a-8ae4-42da-9914-0d8ff38a6954","EventDtm":"2025-11-28T11:59:02Z","AppDtm":"2025-11-28T11:59:17Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:59:02Z","DeviceID":"JSGA623040187","GPSLockState":"LOCKED","GPSSatelliteCount":17,"GPSLastLock":0,"GPSLatitude":16.892051,"GPSLongitude":79.476273,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"31802","CID":"247193878","RSSI":"-63","ExtPower":true,"ExtPowerVoltage":30.3,"BatteryVoltage":8,"DeviceTemp":33,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"GSOU6384153","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:59:02Z","AssetType":"Reefer","AssetID":"GSOU6384153","OEM":"CARRIER","TAmb":28.06,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":0,"PctCO2Q":null,"PctCO2Set":0,"PctCO2SetQ":null,"PSuc":-14.73,"PSucQ":"OOR","TDis":-191.8,"TDisQ":"OOR","FreqComp":null,"TSuc":0,"TSucQ":null,"MCond":1,"PCond":133.81,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04251422","AmpPhA":11.74,"AmpPhB":11.32,"AmpPhC":11.74,"PDis":-14.6,"PDisQ":"OOR","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":18.1,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":92.2,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":408.69,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0,"PctO2Q":"asProvided","PctO2Set":0,"PctO2SetQ":"OOR","MCtrl2":null,"TRtn1":17.8,"TRtn1Q":null,"TRtn2":17.73,"TRtn2Q":null,"TSet":18.5,"TSetQ":null,"VerSWMajor":"5167","VerSWMinor":null,"PctSucVlv":1.93,"PctSucVlvQ":null,"TSup1":18.5,"TSup1Q":null,"TSup2":18.54,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-10-04T10:10:59Z","PTIResult":"Skipped","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T12:00:17.817Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":23,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"f0299d22-7230-4525-b84e-94082882e553","EventDtm":"2025-11-28T11:41:25Z","AppDtm":"2025-11-28T12:00:16Z","Events":["ACPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:41:25Z","DeviceID":"JSGA623040193","GPSLockState":"LOCKED","GPSSatelliteCount":12,"GPSLastLock":0,"GPSLatitude":28.678829,"GPSLongitude":77.599944,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"97","LAC":"1827","CID":"128143137","RSSI":"-69","ExtPower":true,"ExtPowerVoltage":28.9,"BatteryVoltage":7.9,"DeviceTemp":23,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"SJKU4000017","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T11:41:25Z","AssetType":"Reefer","AssetID":"SJKU4000017","OEM":"CARRIER","TAmb":22.56,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":0,"PctCO2Q":null,"PctCO2Set":5,"PctCO2SetQ":null,"PSuc":70.58,"PSucQ":null,"TDis":28.94,"TDisQ":null,"FreqComp":null,"TSuc":21.82,"TSucQ":null,"MCond":0,"PCond":305.47,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Configuration","SnCtrl":"04475864","AmpPhA":0.02,"AmpPhB":0,"AmpPhC":0.02,"PDis":80.87,"PDisQ":null,"PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":22.03,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":0,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":58.01,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":411.06,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0,"PctO2Q":"asProvided","PctO2Set":10,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":22.13,"TRtn1Q":null,"TRtn2":22.11,"TRtn2Q":null,"TSet":17.2,"TSetQ":null,"VerSWMajor":"5370","VerSWMinor":null,"PctSucVlv":10,"PctSucVlvQ":null,"TSup1":20.67,"TSup1Q":null,"TSup2":20.54,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-03-23T08:47:13Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T12:00:31.461Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":24,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"0f552c3a-aa9e-461f-b435-c73d04361c38","EventDtm":"2025-11-28T11:59:55Z","AppDtm":"2025-11-28T12:00:31Z","Events":["BatteryPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T11:59:55Z","DeviceID":"JSGA623040193","GPSLockState":"LOCKED","GPSSatelliteCount":15,"GPSLastLock":0,"GPSLatitude":28.67881,"GPSLongitude":77.599816,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"97","LAC":"1827","CID":"128143137","RSSI":"-69","ExtPower":false,"ExtPowerVoltage":4.5,"BatteryVoltage":7.9,"DeviceTemp":28,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"SJKU4000017","LastAssetRunState":"Offline"},"ReeferData":null}}
2025-11-28T12:01:35.262Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":25,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"6ba380a7-18fb-40b3-962b-9985c4f5fb05","EventDtm":"2025-11-28T12:01:19Z","AppDtm":"2025-11-28T12:01:34Z","Events":["ACPowerOn"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T12:01:19Z","DeviceID":"JSGA623040193","GPSLockState":"LOCKED","GPSSatelliteCount":12,"GPSLastLock":0,"GPSLatitude":28.678743,"GPSLongitude":77.599889,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"97","LAC":"1827","CID":"128143137","RSSI":"-69","ExtPower":true,"ExtPowerVoltage":28,"BatteryVoltage":8,"DeviceTemp":28,"RTDLOn":false,"VerFW":"W0206 1.75","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"SJKU4000017","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T12:01:19Z","AssetType":"Reefer","AssetID":"SJKU4000017","OEM":"CARRIER","TAmb":22.74,"TAmbQ":null,"TUSDA4":-50,"TUSDA4Q":"OOR","PctCO2":0,"PctCO2Q":null,"PctCO2Set":5,"PctCO2SetQ":null,"PSuc":62.71,"PSucQ":null,"TDis":56.88,"TDisQ":null,"FreqComp":null,"TSuc":17.7,"TSucQ":null,"MCond":0,"PCond":277.61,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":"Cool","SnCtrl":"04475864","AmpPhA":1.59,"AmpPhB":1.63,"AmpPhC":1.59,"PDis":102.63,"PDisQ":null,"PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":0,"PctExpVlvQ":null,"TEvap":17.89,"TEvapQ":null,"MCtrl3":null,"PctHtr":null,"PctHtrQ":null,"MEvapFanHS":1,"PctGasVlv":null,"PctGasVlvQ":null,"PctHum":64.96,"PctHumQ":null,"PctHumSet":0,"PctHumSetQ":"OOR","FreqLine":50,"FreqLineQ":null,"VLine1":404.67,"VLine2":null,"VLine3":null,"MEvapFanLS":0,"PctO2":0,"PctO2Q":"asProvided","PctO2Set":10,"PctO2SetQ":null,"MCtrl2":null,"TRtn1":17.98,"TRtn1Q":null,"TRtn2":17.98,"TRtn2Q":null,"TSet":17.2,"TSetQ":null,"VerSWMajor":"5370","VerSWMinor":null,"PctSucVlv":10,"PctSucVlvQ":null,"TSup1":17.31,"TSup1Q":null,"TSup2":17.34,"TSup2Q":null,"AmpTotalDraw":null,"AmpTotalDrawQ":null,"TUSDA1":-50,"TUSDA1Q":"OOR","TUSDA2":-50,"TUSDA2Q":"OOR","TUSDA3":-50,"TUSDA3Q":"OOR","CmhVent":0,"CmhVentQ":null,"BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-03-23T08:47:13Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":null,"ReeferAlarms":null}}}
2025-11-28T12:02:07.936Z | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | {"Sequence":26,"Event":{"EventClass":"DeviceMessage","MessageData":{"MsgID":"9bea50f8-7d4d-4806-a192-51d7e40d684f","EventDtm":"2025-11-28T12:01:49Z","AppDtm":"2025-11-28T12:02:07Z","Events":["ScheduledReport"]},"DeviceData":{"DeviceDataDtm":"2025-11-28T12:01:49Z","DeviceID":"JSGA623040182","GPSLockState":"LOCKED","GPSSatelliteCount":18,"GPSLastLock":0,"GPSLatitude":17.53901,"GPSLongitude":78.178316,"GeofenceCode":null,"ServerGeofenceCode":null,"MCC":"404","MNC":"49","LAC":"19397","CID":"232155661","RSSI":"-57","ExtPower":true,"ExtPowerVoltage":32.7,"BatteryVoltage":8,"DeviceTemp":31,"RTDLOn":false,"VerFW":"W0206 1.91","DeviceType":"CT3500","DoorState":"Disconnected","DoorStateDtm":null,"DoorSensorBatteryVoltage":null,"LastAssetID":"TDRU5800414","LastAssetRunState":"Running"},"ReeferData":{"ReeferDataDtm":"2025-11-28T12:01:49Z","AssetType":"Reefer","AssetID":"TDRU5800414","OEM":"DAIKIN","TAmb":26.88,"TAmbQ":null,"TUSDA4":-46.4,"TUSDA4Q":"OOR","PctCO2":25.5,"PctCO2Q":"OOR","PctCO2Set":25.5,"PctCO2SetQ":"OOR","PSuc":-40,"PSucQ":"asProvided","TDis":106.8,"TDisQ":null,"FreqComp":null,"TSuc":-33.6,"TSucQ":null,"MCond":"On","PCond":null,"PCondQ":null,"TCond":null,"TCondQ":null,"MCtrl":null,"SnCtrl":null,"AmpPhA":null,"AmpPhB":null,"AmpPhC":null,"PDis":880,"PDisQ":"asProvided","PctEconVlv":0,"PctEconVlvQ":null,"PctExpVlv":20,"PctExpVlvQ":null,"TEvap":3.12,"TEvapQ":null,"MCtrl3":"Modulation","PctHtr":null,"PctHtrQ":null,"MEvapFanHS":"On","PctGasVlv":0,"PctGasVlvQ":null,"PctHum":98.82,"PctHumQ":null,"PctHumSet":75,"PctHumSetQ":"configured","FreqLine":50,"FreqLineQ":null,"VLine1":414.2,"VLine2":null,"VLine3":null,"MEvapFanLS":"Off","PctO2":25.5,"PctO2Q":"OOR","PctO2Set":25.5,"PctO2SetQ":"OOR","MCtrl2":"Modulation","TRtn1":5.12,"TRtn1Q":null,"TRtn2":5,"TRtn2Q":null,"TSet":4,"TSetQ":null,"VerSWMajor":"24C2","VerSWMinor":null,"PctSucVlv":85.98,"PctSucVlvQ":null,"TSup1":4.12,"TSup1Q":null,"TSup2":4.1,"TSup2Q":null,"AmpTotalDraw":12,"AmpTotalDrawQ":"asProvided","TUSDA1":-46.4,"TUSDA1Q":"OOR","TUSDA2":-46.3,"TUSDA2Q":"OOR","TUSDA3":-46.4,"TUSDA3Q":"OOR","CmhVent":1020,"CmhVentQ":"OOR","BkNum":null,"TBk":null,"TBkQ":null,"PTIDtm":"2025-09-30T07:54:44Z","PTIResult":"Passed","TWResult":null,"TWExpiration":null,"TWExpirationQ":null,"AtmosMode":"UnitOff","ReeferAlarms":null}}}